## Sheet1
GENERAL
1 | Trash out apartment
2 | Sweep cobwebs from corners and ceilings
3 | Prep oven self cleaning or spray
4 | Prep bath tile or tub
5 | Remove all vent covers for soaking or cleaning
6 | Wipe down and remove grease from kitchen walls
7 | Wipe down all laundry room doors, shelfing
8 | Remove mini blinds and soak or clean
9 | Wipe down front door
10 | Remove all light switches and receptacle covers/light globes
11 | Tape off and drape kitchens and baths
ELECTRICAL
12 | Check all fixtures, switches, outlets and GFIs
13 | Check that all detectors are mounted securely
14 | Test Detectors by pressing “test” button and replace batteries
ENTRANCE DOOR
15 | Check that door lock and latches are installed properly
16 | Check that door hardware is secure, clean and free of paint
17 | Remove any resident-added hardware if PM approves
18 | Remove old door mats
19 | Check that door opens and closes easily and seals tightly
20 | Inspect door sweep at sill
WINDOWS AND PATIO DOORS
21 | Clean and reinstall blinds
22 | Check that working locks are installed on all windows and sliding glass doors and that they open and close easily
23 | Check that all screens fit properly and are free of tears
24 | Verify that no resident modifications (such as the as the pull cords being tied together) have been made
25 | Check that blinds open and close easily and replace any bent or damaged blinds
LIVING ROOM/BEDROOM(S)/HALLS
26 | Check light fixtures and install
27 | Check closet doors, shelving and closet pole(s)
28 | Check interior doors, making sure that all hardware is mounted tightly and doors latch easily
KITCHEN
29 | Check that kitchen cabinets and drawers open and close easily
30 | Check for evidence of water damage or staining, including area under the sink
DISHWASHER
31 | Make sure door opens, closes and seals properly
32 | Verify soap dispenser latches and opens during the cycle
33 | Run the disposal, checking that it does not lock up and that there are no foreign material obstructing blades
FAUCET AND SINK
34 | Run water to check that faucet does not leak and that drains are clear and open
35 | Inspect the drain piping under the sink and check for leaks
RANGE/OVEN/VENT HOOD
36 | Check that the oven is functioning properly, including broiler and stove burners
37 | Check that oven and hood lights and indicators operate
REFRIGERATOR
38 | Check refrigerator seals
39 | Check lights for cleanliness and proper operation
40 | Check that ice maker hose is properly connected and clean
BATHROOM SINK AND VANITY
41 | Run water to check that faucet does not leak and that drains are clear and open
42 | Check sink for chips and make any repairs using a porcelain repair kit
43 | Check and clean the pop-up and p-trap
TOILET
44 | Flush toilet and make sure handle operates freely
45 | Check for leaks and adjust flappers if leaking
46 | Tubs and Showers
47 | Make sure tub holds water and drains properly
48 | Inspect and clean hair trap
49 | Make sure shower or tub enclosures open and close smoothly
LAUNDRY ROOM WASHER DRYER
50 | Run washer through a complete cycle and check to see that it is operating properly
51 | Inspect supply lines for leaks and worn hoses (hoses should be replaced every 5 to 7 years)
52 | Run dryer and check that it is heating properly
53 | Clean dryer vents
54 | Look for excess lint indicating a leak in dryer exhaust
MECHANICAL ROOM
55 | Caulk all exposed areas
56 | Remove all dust and debris
57 | Perform other property-specific preventative maintenance procedures
A/C
58 | Replace A/C filter
59 | Turn thermostat to cool and check that the unit and vents are blowing cold air
WATER HEATER
60 | Test pressure temperature relief valve
61 | Check tank and plumbing for leaks
62 | Check condition of pan, drain if needed
63 | Preparation: Minor putty work, caulking, spackling, and sanding of nail pops and holes from wall hangings.
64 | Paint walls and ceilings with the exception of kitchens and bathrooms) will be painted with one (1) coat flat latex paint.
65 | All kitchens and bathrooms, window and interior door frames, baseboards, and all other trim will be painted with one coat of semi-gloss latex paint.
66 | All exterior doors painted including patio or balcony doors
67 | Clean up any paint drippings or over spray
KITCHEN
68 | Appliance exteriors/Interior cleaned
69 | Clean behind appliances coils
70 | Microwave exterior/interior cleaned
71 | Fingerprints removed from all woodwork, door-frames and switch plates
72 | Countertops and backsplash disinfected
73 | Cabinet fronts cleaned
74 | Cabinet inside cleaned sinks scrubbed and disinfected Floor vacuumed and/or mopped windowsills cleaned and baseboards dusted
BEDROOMS
75 | Fingerprints removed from all woodwork, door-frames and switch plates
76 | Clean windows
77 | Blinds cleaned
78 | Floors vacuumed and/or mopped
79 | Windowsills cleaned
80 | Baseboards dusted
81 | Light fixtures cleaned
BATHROOMS
82 | Tub and shower tiles scrubbed, disinfected and rinsed
83 | Toilets disinfected insides and out
84 | Chrome fixtures cleaned and shined
85 | Countertops disinfected
86 | Cabinet front cleaned
87 | Sinks scrubbed and disinfected
88 | Floors vacuumed and/or washed
89 | Windowsills cleaned
90 | Baseboards dusted/wiped
OTHER LIVING AREAS
91 | Fingerprints removed from all woodwork, door-frames and switch plates
92 | Ceiling fans dusted
93 | Hardwood floors vacuumed and/or washed
94 | Tile floors vacuumed and/or washed
95 | Hallways and stairs vacuumed and/or washed
96 | Carpets vacuumed
97 | Windowsills cleaned
98 | Blinds cleaned
99 | Baseboards dusted
100 | Pre-treat all spots and stains in carpet
101 | Shampoo all carpets
102 | Rinse and extract carpets after shampoo
103 | Rake all carpets after extraction
104 | Conduct wall to wall inspection